## Sheet1
Who | Subject | Plus or Delta | Comments | Question/Request/Comment | Response
Staff | CTE | Plus | Smart swaps, love it! | Comment | None
Staff | CTE | Delta | Windows to see from FAB Lab to hall/woods | Request | Casework does not allow for the addition of windows in the FAB lab
Staff | CTE | Delta | 6th graders in FAB Lab?? | Question | Administration has reviewed the curriculum and determined which programs will be available to the middle school students
Staff | CTE | Delta | Metals office? | Request | This item was considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | CTE | Delta | The door from the classroom F336 to Ag room has a sink in it | Request | This will be revised
Staff | CTE | Delta | Get Cordes room to code? | Request | All spaces that are part of this project will meet building codes
Staff | CTE | Delta | FAB Lab is also 6th grade Art | Question | Yes, the space will be used for both
Staff | CTE | Delta | Will maintenance shop have: air compressor for tires etc., water for maintaining equipment and scrubbers, floor drain for water melting from Kabota and cleaning equipment | Question | The intent is to have as much of the maintenance euqipment upkeep happen in locations other than the shop
Staff | EC/4K | Plus | Love the extra outlets | Comment | None
Staff | EC/4K | Plus | Smart use of space connecting rooms with new doors | Comment | None
Staff | EC/4K | Plus | Different leveled sinks/counters | Comment | None
Staff | EC/4K | Delta | Is there enough storage for 4K? | Question | There is a substantial increase in casework storage and the inclusion of a storage room in 4K
Staff | EC/4K | Delta | Where are the fire alarms? 4K height? | Question | Fire alarms in the existing 4K were a result of the change of use from shop to classroom. There will be not fire pulls in the classroom
Staff | Entry/Office | Plus | Like the wall art | Comment | None
Staff | Entry/Office | Plus | guidance is connected | Comment | None
Staff | Entry/Office | Plus | Nurse is connected to guidance | Comment | None
Staff | Entry/Office | Plus | Handicap ramps at multiple locations | Comment | None
Staff | Entry/Office | Plus | Light/Windows | Comment | None
Staff | Entry/Office | Delta | Maintain the flower boxes/planters etc? Sculptures/statues wolves instead? | Request | We will take this into consideration as we develop the site plan
Staff | Entry/Office | Delta | Shouldn't the handicap ramp come right off of the parking lot? | Question | We are not changing the exissting parking layout significantly
Staff | Entry/Office | Delta | Guidance and Nurse are not in middle school area or accessible to. Kids would have to go to the H.S. area to get there. | Request | We will consider options to reconfigure access
Staff | Entry/Office | Delta | Approach to school? Maybe there should not be stairs. Safer it is too steep | Request | Other options were considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | Entry/Office | Delta | Increase in salt? Steps/ramp | Request | We do not anticipate the type of maintenance or the methods changing significantly with this project
Staff | Fitness | Plus | Windows-natural light | Comment | None
Staff | Fitness | Plus | Windows-colorful | Comment | None
Staff | Fitness | Plus | Outdoor seating areas | Comment | None
Staff | Fitness | Delta | No female locker room? Title IX per Dr. O on different part of building | Question | Changing rooms do not have an assigned gender. There is a girls locker room on the main floor level.
Staff | Fitness | Delta | Too busy colorful | Request | Revisions to the color theme can be considered.
Staff | Fitness | Delta | Turn storage LL140 back into the girls locker room since the plumbing is still available | Request | This item was considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | Fitness | Delta | No carpet fungus bacteria | Request | The goal is to use surfaces that have a lower maintenance than products in current use
Staff | Fitness | Delta | How will the 2nd and 3rd story windows? | Question | Final window locations will be determined after exterior ground elevation is determined.
Staff | Fitness | Delta | Will the elevator fit custodial equipment? | Question | Yes, the elevator is large enough to fit a stretcher or gurney as well as maintenance equipment.
Staff | Fitness | Delta | How will this be staffed? Can staff use it? | Question | The school board will be determining final use requirements for the fitness facility.
Staff | Fitness | Delta | Will the parking lot get smaller? | Question | The fitness center will not remove any parking.
Staff | Fitness | Delta | LL140 was supposed to be 2nd wrestling/activity room | Request | No work will be completed as part of the referendum to change room LL140
Staff | HS Collaboration | Plus | Whiteboard wall | Comment | None
Staff | HS Collaboration | Plus | Variety of seating | Comment | None
Staff | HS Collaboration | Delta | Supervision site lines. Is the wall facing the media center glass? | Request | Opaque coatings on the glass are going to be used to obstruct seated sight lines while allowing standing sight lines
Staff | HS Collaboration | Delta | Noise control. Are sliding doors soundproof? | Request | Glass units are designed to reduce noise transmission
Staff | HS Collaboration | Delta | Needs to be closed off from hallway-security? Safety barricade for intruder. | Request | The school is being divided into control areas to allow spaces like the collaboration space to remain more open
Staff | HS Collaboration | Delta | What it is used for/when? | Question | Collaboration spaces are to allow the adaptation of different learning environments and teaching methods
Staff | HS Collaboration | Delta | Drums as chairs? Not cool | Request | The school district will be responsible for choosing appropriate furniture for these areas
Staff | HS Collaboration | Delta | Who will clean all of this? Please no carpet because of fungus, bacteria, and coffee. | Question | The goal is to use surfaces that have a lower maintenance than products in current use
Staff | HS Collaboration | Delta | What is the small room that is enclosed? Supervision? | Question | Collaboration spaces are to allow the adaptation of different learning environments and teaching methods. Opaque coatings on the glass are going to be used to obstruct seated sight lines while allowing standing sight lines.
Staff | HS Collaboration | Delta | Sliding wall for Social Studies | Request | Sliding walls will be located in classrooms as shown on the drawings.
Staff | Middle School | Plus | Looks good to us | Comment | None
Staff | Middle School | Plus | Extra security looks good (doors) | Comment | None
Staff | Middle School | Delta | Is there an easier route to access nurse? | Request | We will consider options to reconfigure access
Staff | Middle School | Delta | What is the break room? Staff lounge? Why is it by the principle? | Question | The break room in the administration area is for office staff. Teaching staff will continue to have a separate break area
Staff | Middle School | Delta | Where did the FACE room go? Concessions, foods, tournaments, Booster Club etc. | Question | This room is not moving or changing significantly
Staff | Middle School | Delta | No natural light Skylights? | Question | Natural light will be provided through skylights for the middle school collaboration area.
Staff | Science | Plus | Moving tables | Comment | None
Staff | Science | Plus | Science update great! | Comment | None
Staff | Science | Delta | No natural light for the most moody kids and for Science | Request | Natural light will be provided through skylights for the middle school collaboration area.
Staff | Science | Delta | Skylights? | Request | Natural light will be provided through skylights for the middle school collaboration area.
Staff | Science | Delta | Will they all fit? Only 4 MS rooms here | Question | Administration has reviewed the projected room requirments and is comfortable with the quantity of classrooms
Staff | Science | Delta | Roof access? Will it be updated to be safe? | Question | We will need to explore further the safety and availablity of roof access
Staff | Science | Delta | Soundproof?? Currently loud | Question | The walls betwenn classrooms will not be changed
Staff | Elementary Site | Plus | Elimination of middle exit, great idea | Comment | None
Staff | Elementary Site | Plus | Nice to have bus loading/unloading separate from parking | Comment | None
Staff | Elementary Site | Plus | Like extra spaces | Comment | None
Staff | Elementary Site | Delta | Play area on blacktop in back | Request | This is currently in the scope of work
Staff | Elementary Site | Delta | Snow removal location | Request | This is currently in the scope of work and will be determined based on the best location and method
Staff | Elementary Site | Delta | How many parking spaces are now added. | Question | Five additional spaces are being added over the current total
Staff | Elementary Site | Delta | Is there a sidewalk extension? | Question | Sidewalks are being extended to areas within the site. There are no offsite sidewalk improvments
Staff | Elementary Site | Delta | Is the yellow pole in the grassy field going to be removed? (by the end of the school and playground) | Question | Yes, the post is being removed
Staff | Elementary Site | Delta | Motorcycle parking? | Request | We can make accommodations for motorcycle parking at the elementary school
Staff | Elementary Site | Delta | Bike racks? | Request | We can make accommodations for bicycle racks at the elementary school
Staff | Elementary Site | Delta | Are the bus gates electronic | Question | The gate will not be used frequently and will be operated manually
Staff | Spec Ed | Plus | Looks good | Comment | None
Staff | Spec Ed | Plus | Using at risk room for a shared space | Comment | None
Staff | Spec Ed | Delta | Where does Bryant's stuff go? (basement?) | Question | A new IT room is being provided adjacent ot the middle school area
Staff | Spec Ed | Delta | Where is Health class now that we have no lab | Question | Administration has reviewed the projected room requirments and is comfortable with the quantity of classrooms
Staff | Spec Ed | Delta | Transition nightmare for shared space | Request | Administration is considering schedule and the impact of shared spaces
Staff | Spec Ed | Delta | At risk and Spanish switch spots | Request | Administration has reviewed the projected room requirments and is comfortable with the quantity of classrooms
Community | Stage/Band/Choir | Delta | Move exterior wall out further, build an actual auditorium Center stage, slope floor, move ramp indoors. | Request | This item was considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | Stage/Band/Choir | Plus | Fill in the band pit, Yippeee! | Comment | None
Staff | Stage/Band/Choir | Delta | Choir office for valuables? | Question | This item was considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | Stage/Band/Choir | Delta | Why are the walls up in the stage storage? | Request | We are currently evaluating the ability to take these wall out.
Staff | Stage/Band/Choir | Delta | More music library space-can't combine well. | Request | This item was considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | Stage/Band/Choir | Delta | Choir office? | Request | This item was considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | Stage/Band/Choir | Delta | What is being changed in commons? | Question | The commons will have new finishes including ceiling and floors along with painting the walls
Staff | Stage/Band/Choir | Delta | Flatten the floor in Choir. Take out the stairs and make it flat in the Choir room | Request | This item was considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | Stage/Band/Choir | Delta | More Choir practice rooms. Choir needs practice rooms too. | Request | This item was considered early in the process but was eliminated prior to referendum to reduce the costs
Staff | Stage/Band/Choir | Delta | Are they (we) updating stage lighting/sound? | Question | Stage lighting, curtains and sound will all be updated
Staff | Stage/Band/Choir | Delta | Is the ramp by band covered? | Question | If the ramp were on the exterior of the building, it will not be covered. Interior ramp options are being considered